## Slide 1: The Research Question
What is the diagnostic accuracy of the Alivecor Kardia 1-lead ECG device for:
  Atrial fibrillation (AF)
  Any rhythm abnormality
      AF, premature beats, etc.
  Any conduction abnormality
      AV block, bundle branch block
…among consecutive primary care patients?

## Slide 2: Research Design and Method
10 sec
Any conduction abnormality
Any rhythm abnormality
Routine care
12-lead ECG
30 sec
Alivecor 1-lead ECG
AF
AF
Any rhythm abnormality
23
44
28
?
Any conduction abnormality
AF
?
?
?
Reference standard
Index tests
n = 214
consecutive patients
ECG
as indicates by local GP
Cardiologist
Cardiologist
A
B

## Slide 3: What the Research Found
Excellent! sens 100%, spec 100%
Good sens 87%, spec 98%
Sufficient sens 91%, spec 94%
Insufficient sens 46%, spec 100%
Any conduction abnormality
Any rhythm abnormality
AF

## Slide 4: What this means for Clinical Practice
Kardia Alivecor can be used to detect and rule out AF in primary care when visually assessed by experienced ECG interpreters (here: cardiologists)
In-built algorithm also has high accuracy for AF, though not perfect
Other rhythm abnormalities (mainly PACs/PVCs) can also be detected with sufficient accuracy
Kardia cannot rule out conduction abnormalities in primary care patients